{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":12,"n_cols":4,"rows_kept":12,"merged":[[0,0,0,3],[1,0,1,3],[5,3,6,3],[7,0,7,3],[10,0,10,3]],"flags":["formulas_cached_only"]}
["第1期排水管道工岗位培训课程表"]
["第一天    理论学习"]
["时间","地点","内容","主讲人"]
["7月14日（周六）\n09:00-11:00","室内","1.排水系统基础知识：排水系统概述、排水管道设施及附属设备名称与作用；\n2.排水管道常用工程材料：常见管道材料、检查井盖材料等。                3.排水管道工程识图：基本知识、基本概念、下水道工程识图方法                                         ","郭劲松"]
["7月14日（周六）\n11:00-12:45","室内","排水管道养护技术：排水管道巡查、日常养护、清疏技术：\n1.管网巡查、日常养护；\n2.管道清疏方式、清疏原理；\n3.排水管道维修与抢险：汛期作业知识、管道快速抢修知识、管道日常维修、抢修及抢险物资使用和管理、排水管道抢修案例。","李戈"]
["7月14日（周六）\n14:00-15:30","室内","排水管道相关安全知识：\n1.施工路面安全，施工围蔽标准；\n2.管道封堵、气体、维修、清疏、下井作业安全；\n3.事故应急救援、相关案例分析。","\n邓东阳"]
["7月14日（周六）\n15:30-17:15","室内","排水管道监测、检测技术：排水管道水质、流量及气体监测、管道检测技术：  1.水质初步判断的简易方法、下水道流量监测、仪器的使用及维护；\n2.排水管道有毒有害气体的初步判断、监测及处理；\n3.CCTV管道检测系统、管道声呐检测系统、QV管道内窥检测系统检测及评估"]
["第二天   理论学习、实操学习及考试"]
["7月15日（周日）   \n 9:00-12:00","室内","相关国家行业标准解读与学习：\n专题一：城镇排水管维护安全技术\n专题二：城镇排水管道检测与评估技术","邝铁池"]
["7月15日（周日）\n13:30-17:30","室外","实操项目1：人工清井；\n实操项目2：水冲车；                                                   实操项目3：液压抽水机；\n实操项目4：送风机；\n实操项目5：综合气体检测仪；\n实操项目6：管道QV。                                       ","\n邓东阳"]
["第三天    理论考试"]
["7月16日（周一）\n9:30-11:00","室内","理论考试","协会工作人员"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}